## Slide 1: Proton Computed Tomography The Positive Medical Imaging Technique
Keith Evan Schubert
Professor of Computer Science and Engineering
California State University, San Bernardino

## Slide 2: Why Protons?
Dose %
100
Photon
Proton
Depth in Tissue
Electron

## Slide 3: pCT Scanner

## Slide 4: Problem Flow

## Slide 5: Discretized Area
Notes: Using the discretized area described earlier and here by the dashed-dotted square between the detectors
With 21.21cm x 21.21cm and a voxel size of 0.25mm x 0.25mm gives

## Slide 6: A Proton Path

## Slide 7: Problem Size
~107 voxels
~ 108 proton paths (min)
~ 400 voxels/paths
Thus:
Size(A)
~ 107108 = 1 PB (dense)
Computation SVD
~ 107107108 =
1010 Tflops/Cycle

## Slide 9: Problem Size
~107 voxels
~ 108 proton paths (min)
~ 400 voxels/paths
Thus:
Size(A)
~ 108  103 =100 GB
Computation ART
~ 103103108 =
102 Tflops/Cycle

## Slide 10: Problem Flow

## Slide 11: Convex Hull

## Slide 12: Convex Hull

## Slide 13: Convex Hull

## Slide 14: Convex Hull

## Slide 15: Convex Hull

## Slide 16: Convex Hull

## Slide 17: Simulation
No Noise
Noise
Space Carving
Filtered Back Projection

## Slide 18: Actual Scans
Pediatric
Head
Phantom
Rat Head
Space Carving
Filtered Back Projection
Notes: Convex hull approximation provides

## Slide 19: Calculating Entry and Exit Points
Notes: We have the information for the entry and exit positions provided by the detectors.
Using that information, we calculate the entry and exit angles
We then project forward and backward the respective positions until one of the voxels marked as being in the image is hit
These voxels will be used as the entry and exit points when calculating the most likely path through the object

## Slide 20: Problem Flow

## Slide 21: The Most Likely Path (1)

## Slide 22: The Most Likely Path (2)
79 flops / step
Redundant calculations (Sigma/R)
  1600 possible (20.0 cm depth x 0.125 mm step)
  108 -109 histories
Precalculate all Sigma/R terms
7 flops/step

## Slide 23: Proton Histories vs. Depth

## Slide 24: Reconstruction
Sparse Sequential algorithm
  ART
Sparse Parallel algorithm
  Fully simultaneous algorithms
    Cimmino, CAV
  Block iterative
    BIP, BICAV, DROP, OS-SART
  String averaged
    SAP, CARP

## Slide 25: ART
x0
x0
x1
x2
x3
x4
x5
x6

## Slide 26: Cimmino
x0
x0
x1

## Slide 27: Block Iterative Projections
x0
x0
x1

## Slide 28: Block Iterative Projections
x0
x0
x1
x2

## Slide 29: String Averaged Projections
x0
x0
x1

## Slide 30
BIP
xk
Xk+1
ai
Notes: 30

## Slide 31: Fermi

## Slide 32
Iteration
-
b - A x = R
Calculate Residual
Sync Blocks
Update x
x += c AT R

## Slide 33
Summing In Inner Product
0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
8
10
12
14
16
18
20
22
24
28
32
36
56
64
120

## Slide 34
SAP Number of Histories
Protons=voxels
Protons=10 voxels
Protons=5 voxels
Protons=20 voxels

## Slide 35
SAP Relaxation Parameter
0.01
0.1
0.2
0.5

## Slide 36: Conclusions
A simple convex hull calculation is fast and precise
GPGPU acceleration yields a three order of magnitude increase in speed
Pre-calculating and binning yields a two order of magnitude increase in speed
SAP gives good convergence and image quality
2D (single machine) 12 hours to a few seconds
3D (cluster) day to under 30 minutes
More to do…